List of low-cost energy-saving measures at 27 Aston Street

The only things we have done that aren’t low cost are:

- Installing thermal water-heating panels on the roof.  This was done in 2007, costing £7,000, so I cannot say what they would cost now.

- Fitting UPVC double-glazed windows in four rooms upstairs – necessitated by the construction of the Conservatory, which prevented all those windows from being able to be cleaned outside from a ladder.

Downstairs front room

- Dry-lining the front bay window

- Fitting foil behind the radiator (supplied by LCEO Robin)

- Having the two side windows in the bay draughtproofed professionally – the rep advised us not to do anything to the front windows as they were painted shut.

- Commissioning thermal linings for the new curtains

Front hall

- Fitting a panel inside the top front window, above the door, as this showed up as losing more heat on the thermal imaging study.

Kitchen

- Fitting a Perspex panel outside the main window – detachable when the weather warms up

- Using a draught excluder snake between the kitchen and Conservatory

Conservatory

- Fitting foil behind the radiators (supplied by LCEO Robin) – but note that this room is not normally used/heated in the colder months

Upstairs front bedroom

- Commissioning thermal linings for the curtains

- Fitting foil behind the radiator (supplied by LCEO Robin)

Back bedroom

Dry-lining an exposed wall in the north facing room.  Along with the double-glazing, this has been extremely effective, and the room barely needs heating.